## Slide 1: Determination of parameters defining accuracy of widefield FRET measurements of molecular interactions
Laura Hippe, Anita Bērziņa and Mārtiņš Kālis, PhD
A. Kirchenstein Institute of Microbiology and Virology, Riga Stradiņš University, Latvia

## Slide 2: Ca2+ release-activated Ca2+ channel (CRAC)
CRAC is a selective calcium ion store operated channel (SOC)
SOC activity is dependent on [Ca2+]ET.
Ca2+ depletion is caused by:
Receptor signals
Biochemical signals
Thapsigargin
Ionomycin
H2O2
Gene expression
Secretion
Cell growth

## Slide 3: CRAC ion channels
STIM1 (stromal interaction molecule) is located on ER membrane
ORAI1 is located on PM
ER Ca2+ store depletion
STIM1-ORAI1 complex formation
Ca2+ influx
Prakriya and Lewis 2015

## Slide 4: FRET – Förster Resonance Energy Transfer
CFP
STIM1
YFP
Brossard et al. 2013
Shindl 2016
Used for:
Molecular interaction detection in a cell
Conformational changes

## Slide 5
Transfection of HEK 293 cells with DNA constructs

## Slide 6: DNA constructs
STIM-CFP + YFP-ORAI1
CFP-STIM1 + YFP-ORAI1
Negative control
CFP + YFP
CFP-YFP
Negative control
Positive control

## Slide 7: Bleached fluorophores

## Slide 8: Reduced fluorophore bleaching

## Slide 9: FRET measurement quality

## Slide 10: FRET data filtering
Before data filtering
After data filtering

## Slide 11: Positive and negative control

## Slide 12: Correlation between CFP/YFP ratio and FRETeff

## Slide 13: Effect of FRET quality on FRETeff values

## Slide 14: Conclusions
1. Optimal conditions for FRET experiments using a wide-field fluorescence microscope require use of ND filters during the preparation of cells for the FRET measurement in order to avoid photobleaching.
2. Donor/acceptor fluorophorescence intensity ratio can considerably influence FRETeff levels. Fluorophore ratio must be taken into account when interpreting FRET results.
3. FRETeff pixel frequencies not conforming to Gaussian distribution cause artifacts of elevated FRETeff values.

## Slide 15: Acknowledgements
Hermanis Sorokins
Šimons Svirskis
Maria Issagouliantis
Modra Murovska
Rainer Schindl